## Enter Data here
Ref.DataForYearAuto |  | ULR No.: |  | CC num(6 dig) | year(2 dig) | loc- main lab (1 dig) | rep num(8 dig) |  | F or P
2025-04-04 | Invalid Date |  |  | CC3525 | 25 | 0 | 0000 | 0 | F
Year: |  |  |  | 2526
ULR Sr. No.: |  |  |  |  | F | ULR No.: | ULR No.: CC352525000000F
SRF No.: | [5 empty] | Certificate No.: | STPL/2526/-
Job No.:
Cal Done At:
Customer Name:
Address:
Cal Date: |  |  |  | 2025-04-04
Due Date: |  |  |  | 2026-02-17
Certificate Issue Date |  |  |  | 2025-02-22
Customer Ref. & Date: |  |  |  | Verbal
Date of Receipt/Condition: |  |  |  | 2025-02-18 | Good
Name |  |  |  | Under Counter
Make |  |  |  | Sub Zero
model |  |  |  | ----
Accuracy |  |  |  | ----
Range |  |  |  | --
op range |  |  |  | ------
resolution |  |  |  | 0.001 | °C | [27 empty] | Worksheet Password Here. Unprotect Worksheet by Authorized, Only if really necessary. Turn on Protect Worksheet when done with same Password - Nathan Lobo |  |  |  | Worksheet Password: StPL@2017#7Yr$NL-Auto!Lock
ID Number |  |  |  | 01
Serial |  |  |  | ----
Department |  |  |  | ----
Location |  |  |  | Bakery
start temp |  |  |  | 26.5 | °C | [21 empty] | Password: sTpL@2017#7
start rh |  |  |  | 56 | %RH | [21 empty] | Do Not Delete. As its Connected to cmc Calc
end temp |  |  |  | 27.5 | °C | Temp Avg.: | 27 °C
end rh |  |  |  | 57 | %RH | RH Avg.: | 57 %RH | [19 empty] | STPL/DTIS-01
Atm press |  |  |  | NA | [20 empty] | Master range is same as Avg DUC/UUC reading from its certificate |  | Master range | Measured Uncertainity
| Reference Standard Instrument Used (Traceable to National/International Standards) | [6 empty] | Password: sTpL@2017#7
| Master 1 |  |  |  | Master 2 |  | Master 3 |  | Master 4 |  |  |  | STD SET Temp. | Ω | °C | Std Ch Rdg | Co-eff. | [9 empty] | -80.685 | 0.07
Name | Multi Function Calibrator |  |  |  | RTD Sensor with Indicator [Precision] |  | Digital Thermometer with sensor | [5 empty] | 0 | #REF! | #REF! | 115.54 | 0.39 |  |  | 0 | 2.564 | [5 empty] | 0.485 | 0.02
ID number | STPL/TH-04 |  |  |  | STPL/TH-04 / STPL/TH-05 |  | STPL/DTIS-01 | [5 empty] | 0 | #REF! | #REF! | 127.08 | 0.38 |  |  | 0 | 2.632 | [5 empty] | 50.658 | 0.02
Cert. Num | TSC/23-24/14433-2 |  |  |  | TSC/24-25/11493-1 |  | TSC/24-25/18117-1 | [5 empty] | 0 | #REF! | #REF! | 138.51 | 0.38 |  |  | 0 | 2.632 | [5 empty] | 100.384 | 0.02
CC Num | CC-2231 |  |  |  | CC-2231 |  | CC-2231 | [5 empty] | 60 | #REF! | #REF! | 123.242 | 0.37 |  |  | 0 | 2.703 | [5 empty] | 200.685 | 0.08
Due date | 03.12.2024 |  |  |  | 26.09.2025 |  | 14.01.2026 | [5 empty] | 200 | #REF! | #REF! | 175.856 | 0.36 |  |  | 0 | 2.778 | [5 empty] | 400.286 | 0.08
Range | [12 empty] | 850 | #DIV/0! | #DIV/0! | 390.5 | 0.36 |  |  | 0 | 2.778
LC |  |  |  |  | 0.01 |  | 0.001
Make
Model
Sr. No.
discipline |  | Thermal Calibration
parameter |  | Temperature
method |  | Comparison Method
reference WI |  | STPL/WI/T-06
n= | 5 | DOF: | 4 |  |  | CALIBRATION RESULTS
Cal Point |  |  | Reading on Standard | [5 empty] | Average Reading (Standard) | UUC / mater least count | digit after decimal for round formula | exp uncert | Std Dev | Type A (stddev/ sqrt(n)) | uncert due to master MFC traceability |  |  | uncert due to master RTD Readout (MFC) (convert ohm to degree) |  |  | uncert due to Drift of master RTD |  | uncert due to Stability of temp bath |  | uncert due to uniformity of temp bath |  | uncert due to self heating error |  | uncert due to UUC Readout Resolution |  | uncert due to immersion error |  | Combined uncertainty | effective degree of freedom | K | exp uncert | scope
|  |  | Unit | X1 | X2 | X3 | X4 | X5
°C | [14 empty] | uncert | k | U1 | uncert | k | U2 | value | U4 | value | U5 | value | U6 | value | U7 | value | U8 | value | U9
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----
| UUC Reading |  | °C | -40 |  |  |  |  | -40 | 0.001 | 3 | 16.0002 | 17.8885 | 8 | 0.07 | 2 | 0.035 | 0 | 2 | 0 | 0 | 0 | 0.04 | 0.023094 | 0 | 0 | 0 | 0 | 0.001 | 0.00028868 | 0 | 0 | 8.0001 | 4.0002 | 2 | 16.0002 | 0.47
| Master Reading |  | °C | [5 empty] | #DIV/0! | 0.001 | 3
| Error |  | °C | -40 | 0 | 0 | 0 | 0 | #DIV/0! | ---- | ----

## single page
ULR No.: CC352525000000F
ULR No.: CC352525000000F
Certificate No. |  |  | : | STPL/2526/- |  |  |  | Calibration Date |  |  | : | 2025-04-04
Cert. Issue Date |  |  | : | 2025-02-22 |  |  |  | Recomm. Due Date |  |  | : | 2026-02-17 | (Recomm. By Customer)
Customer Name & Address |  |  |  | : | 0
0
Customer Ref. : |  | Verbal |  |  |  |  | UUC Receipt Date : |  | 2025-02-18 |  | Condition on Receipt : |  |  |  | Good
SRF No.& Date |  |  | Cust. Ref. & Date |  |  | Date of Receipt | [5 empty] | Condition
| / | [10 empty] | Satisfactory
Unit Under Calibration (UUC) Details:
Description |  |  |  | : | Under Counter |  |  |  | Range |  |  | : | --
I.D No. |  |  |  | : | 01 |  |  |  | Operating Range |  |  | : | ------
Serial No |  |  |  | : | ---- |  |  |  | Resolution |  |  | : | 0.001 °C
Make / Model |  |  |  | : | Sub Zero / ---- |  |  |  | Accuracy |  |  | : | ----
Method Used |  |  |  | : | Comparison Method |  |  |  | Location |  |  | : | Bakery
Reference Procedure |  |  |  | : | STPL/WI/T-06 |  |  |  | Department |  |  | : | ----
Calibration Performed at |  |  |  | : | 0 | Environmental Condition: |  | 27 °C / 57 %RH |  |  |  | Atmospheric Pressure : |  | NA
Reference Standard Instrument Used (Traceable to SI Unit through National/International Standards)
Description |  |  |  |  | ID number |  | Certificate Number |  |  | Traceability With |  |  | Due Date
Digital Thermometer with sensor |  |  |  |  | STPL/DTIS-01 |  | TSC/24-25/18117-1 |  |  | CC-2231 |  |  | 14.01.2026
RTD Sensor with Indicator [Precision] |  |  |  |  | STPL/TH-04 / STPL/TH-05 |  | TSC/24-25/11493-1 |  |  | CC-2231 |  |  | 26.09.2025
CALIBRATION RESULTS
Discipline |  | : | Thermal Calibration |  |  |  |  | Product Group : |  | Temperature
Sr. No. | Cal Point |  |  | Reading on Standard |  |  | Reading on UUC |  |  | Deviation |  |  | Expanded Uncertainty (±)
| °C |  |  | °C |  |  | °C |  |  | °C |  |  | °C
1 | 0 |  |  | #DIV/0! |  |  | -40 |  |  | #DIV/0! |  |  | 16.0002
2 | 0 |  |  | #DIV/0! |  |  | -40 |  |  | #DIV/0! |  |  | 16.0002
3 | 0 |  |  | #DIV/0! |  |  | -40 |  |  | #DIV/0! |  |  | 16.0002
4 | 0 |  |  | #DIV/0! |  |  | -40 |  |  | #DIV/0! |  |  | 16.0002
5 | 0 |  |  | #DIV/0! |  |  | -40 |  |  | #DIV/0! |  |  | 16.0002
6 |  |  |  | #DIV/0! |  | #DIV/0! |  | -40 |  |  |  | -40
Remarks :
1. UUC : Unit Under Calibration
2. The reported expanded uncertainty is estimated at 95% C.L. with coverage factor K=2
3. The reported UUC readings are without adjustment.
4. Temperature scale : International Temperature Scale, 1990 (ITS 90).
5. Above UUC is within the specified acceptance criteria limits.
Note :
1. This certificate refers only to the item(s) calibrated.
2. This certificate shall not be reproduced except in full without the written approval from Head,STPL
3. Results reported are valid at the time of and under the stated condition of measurement.
4. Calibration done is meant for scientific and industrial purpose only.
Calibrated By | [7 empty] | Authorized Signatory
Parth Maurya | [7 empty] | Dharmendra Choukekar
(Calibration Engineer) | [7 empty] | (Lab Head)
STPL/FT-01/7.8 / Rev. 01 | [5 empty] | ----x----END OF CALIBRATION CERTIFICATE----x---- | [7 empty] | Page 01 of 01